# Adding a Temperature and Humidity Sensor

Zachary N. Locke

Southern New Hampshire University

CS-350: Emerging Sys Arch & Tech

Roland Morales

February 21, 2026

Temperature Sensor Integration Reflection

I used an existing circuit from Milestone 3 rather than creating a new one. I used the same wiring for the Raspberry Pi, T-Cobbler, and breadboard for the sixteen×2 LCD, LEDs, and push buttons, and incorporated an AHT20 temperature and humidity sensor with Quik cables. On the software front, I installed the Adafruit CircuitPython library for the AHT20 sensor and character LCD, and activated the hardware I2C interface with raspi-config.

The hardest part of this lab is communicating between the sensor and the Raspberry Pi using I2C. Initially, the Python code informed me that I not have a hardware I2C interface, and then later that I did not have an I2C tool detected at address 0x38. I used the instructions “ls /dev/i2c*” and “sudo i2cdetect -y 1” to see if the sensor was detected on the bus. When it wasn’t, I grew to become off the Pi and rearranged the connections at the Qwiic cable on both the Pi facet and the AHT20 aspect (attempting all the ports) till “i2cdetect” showed a tool at cope with 0x38.

Once the verbal exchange problem was resolved, the mixing script should examine temperature and humidity and display them on the LCD, alongside the modern-day date and time. I used the prevailing push button to toggle between Fahrenheit and Celsius, demonstrating how a unmarried embedded machine can integrate digital I/O, a single LCD, and an I²C sensor.